## Storage Configurator
SOFAR HV Storage System Configuration
Requirements |  |  |  | Difference |  |  | System Results
| Requirement | Value |  | Requirement | Difference |  | Result | Total | 1st | 2nd | 3rd | 4th | 5th | 6th
| Required grid power | 100 |  | Grid power | -90 |  | Grid power | 10 | 10 | 0 | 0 | 0 | 0 | 0
| Required offgrid power | 50 |  | Offgrid power | -40 |  | Offgrid power | 10 | 10 | 0 | 0 | 0 | 0 | 0
| Required PV power | 130 |  | PV power | -120 |  | PV power | 10 | 10 | 0 | 0 | 0 | 0 | 0
| Required Charging power | 25 |  | Charging power | -19.528 |  | Min. Charging power | 5.472 | 5.472 | 0 | 0 | 0 | 0 | 0
| Required usable capacity | 20 |  | Usable capacity | -11 |  | Max. Charging power | 6.912 | 6.912 | 0 | 0 | 0 | 0 | 0
[7 empty] | Usable capacity | 9 | 9 | 0 | 0 | 0 | 0 | 0
Products | [7 empty] | Configuration
Put the number of products here for several configurations
| Inverter | AC-Power | Offgrid Power | PV Power | Charging Power |  |  | Inverter | 1st | 2nd | 3rd | 4th | 5th | 6th
| HYD 5KTL-3PH | 5 | 5 | 5 | 5 |  |  | HYD 5KTL-3PH
| HYD 6KTL-3PH | 6 | 6 | 6 | 6 |  |  | HYD 6KTL-3PH
| HYD 8KTL-3PH | 8 | 8 | 8 | 8 |  |  | HYD 8KTL-3PH
| HYD 10KTL-3PH | 10 | 10 | 10 | 10 |  |  | HYD 10KTL-3PH | bar: Put the number of products here for several configurations 1st
| HYD 15KTL-3PH | 15 | 15 | 15 | 15 |  |  | HYD 15KTL-3PH
| HYD 20KTL-3PH | 20 | 20 | 20 | 20 |  |  | HYD 20KTL-3PH
| Batteries | Modules | Usable Cap. | Rated Voltage | Min. Voltage | Max. Voltage |  | Batteries | 1st | 2nd | 3rd | 4th | 5th | 6th
| GTX 3000-H4 | 4 | 9 | 204.8 | 182.4 | 230.4 |  | GTX 3000-H4 | bar: 1st
| GTX 3000-H5 | 5 | 11.25 | 256 | 228 | 288 |  | GTX 3000-H5
| GTX 3000-H6 | 6 | 13.5 | 307.2 | 273.6 | 345.6 |  | GTX 3000-H6
| GTX 3000-H7 | 7 | 15.75 | 358.4 | 319.2 | 403.2 |  | GTX 3000-H7
| GTX 3000-H8 | 8 | 18 | 409.6 | 364.8 | 460.8 |  | GTX 3000-H8
| GTX 3000-H9 | 9 | 20.25 | 460.8 | 410.4 | 518.4 |  | GTX 3000-H9
| GTX 3000-H10 | 10 | 22.5 | 512 | 456 | 576 |  | GTX 3000-H10